| 南京晨光东螺波纹管有限公司 AEROSUN-TOLA EXPANSION JOINT CO.,LTD |  |  | 报告编号 Report No. |  |  | {{Report No.}} |
| --- | --- | --- | --- | --- | --- | --- |
| 氦质谱泄漏测试报告 Helium Mass Spectrometer Leak Test Report |  |  |  |  |  |  |
| 试验信息Test Information |  |  |  |  |  |  |
| 合同编号Contract No. | {{Contract No}} |  | 产品名称Product Name |  |  | {{Product Name}} |
| 出厂编号Serial No. | {{Serial No.}} |  | 温度Temperature °C |  |  | {{Temperature}} |
| 试验日期 Test Date | {{Test Date}} |  | 环境湿度Relative Humidity(%) |  |  | {{Relative Humidity}} |
| 检测区域Inspection Area | {{Inspection Area}} |  | 测试方法Test Method |  |  | 氦罩法Helium Hood Method |
| 试验程序编号 Test Procedure No. |  | {{Test Procedure No.}} |  |  |  |  |
| 验收Acceptance Criteria Qc |  | {{Acceptance}} |  |  |  |  |
| 试验设备 Test Equipment |  |  |  |  |  |  |
| 设备名称Equipment Name |  | 型号 Model |  | 编号Equipment No. | 有效期至Valid Until |  |
| 检漏仪Leak Detector |  | {{LDM}} |  | {{LDN}} | {{LDVP}} |  |
| 标准漏孔Calibration Leak Standard |  | {{SLM}} |  | {{SLN}} | {{SLVP}} |  |
| 温度计Thermometer |  | {{TM}} |  | {{TN}} | {{TVP}} |  |
| 氦浓度计Helium concentration meter |  | {{HCM}} |  | {{HCN}} | {{HCVP}} |  |
| 检漏仪校准 Leak detector Calibration （Pa·m3/s） |  |  |  |  |  |  |
| 标准漏孔校准漏率 Calibrated Leak Rate of Standard Leak Q0 |  | {{Q0}} | 测试温度下标准漏孔的漏率Standard Leak Rate at Test Temperature QT |  |  | {{QT}} |
| 检漏仪背景信号 Leak Detector Background Signal I0 |  | {{I0}} | 检漏仪背景噪声Leak Detector Background Noise In |  |  | {{In}} |
| 泄漏信号 Leak signal I |  |  | {{I}} |  |  |  |
| 检漏仪灵敏度Leak Detector Sensitivity Qmin=InI−I0QT |  |  | {{Qmin}} |  |  |  |
| 测试记录Test Record（Pa·m3/s） |  |  |  |  |  |  |
| 测试系统背景信号 Test System Background Signal M0 |  | {{M0}} | 测试系统背景噪声 Background noise of Test system Mn |  |  | {{Mn}} |
| 泄漏信号 Leak signal M1 |  | {{M1}} | 响应时间 Response Time Ts |  |  | {{TS}} |
| 测试系统灵敏度 Sensitivity of Test system Qemin=MnM1−M0QT |  |  | {{Qemin}} |  |  |  |
| 喷氦后泄漏信号 Leak Signal After Helium Spray M2 |  | {{M2}} | 氦浓度 Helium concentration TG |  |  | {{TG}} |
| 系统测试漏率Tested Leak Rate of system Q=M2−M0M1−M0×QTTG |  |  | {{Qs}} |  |  |  |
| 测试结果 Test Results |  |  |  |  |  |  |
| 实际泄漏率{{Qcompare_zh}}验收 Qa ，结果{{Qresult_zh}} Actual leakage rate is {{Qcompare_en}} than acceptance Qa, The result is {{Qresult_en}} |  |  |  |  |  |  |
|  |  | 操作员Operator |  | 编制Prepared by | 审核Reviewed by |  |
| 签名/日期Signature/Date |  |  |  |  |  |  |
| 资质等级Qualification Level |  |  |  |  |  |  |